PART X — INSTRUMENT TRAYS PAEDIATRIC TRAYS Complete, illustrated examination notes General · Gynaecologic & Obstetric · Genitourinary · Thoracic Cardiovascular · Orthopaedic · Neurologic · ENT · Ophthalmic · Paediatric Legal (8.5 × 14 in) · 1.27 cm margins · monochrome print-ready Every figure is an original line diagram, drawn for clarity in black and white

Table of Contents

To fill in the page numbers: click anywhere in the list below, press Ctrl+A then F9, and choose “Update entire table”.

Right-click here and choose “Update Field”, or press Ctrl+A then F9, to build the Table of Contents with page numbers.

PART X # Paediatric Trays Paediatric major · Paediatric minor · Paediatric gastrointestinal

A child is not a small adult, and a paediatric tray is not merely a smaller tray. Four differences shape every set in this Part. Scale — instruments are shorter, finer and lighter, and quantities are reduced. Physiology — a neonate's total blood volume is about 80 mL/kg, so a loss that would be trivial in an adult is life-threatening; blood loss is measured by weighing swabs. Thermoregulation — a large surface-area to weight ratio means hypothermia develops within minutes, so warming is part of tray preparation. Tissue delicacy — structures are millimetres wide, so magnification and fine atraumatic instruments are the rule.

## 10.1   Paediatric Major Procedures Tray

Also called:  Paediatric laparotomy tray · neonatal major set

| The paediatric major tray is the child's equivalent of the adult major tray (1.1): a complete set covering all six functional groups for entry into a body cavity, but in short, fine, light patterns and in smaller numbers. Its preparation is dominated less by the instruments themselves than by the physiological support — warming, meticulous blood-loss measurement and precise fluid management — that must accompany them. Used for / includes ▪ Neonatal laparotomy — necrotising enterocolitis, malrotation, atresia ▪ Repair of congenital diaphragmatic hernia; oesophageal atresia with tracheo-oesophageal fistula ▪ Excision of Wilms' tumour, neuroblastoma and other solid tumours ▪ Splenectomy, nephrectomy and major hepatobiliary surgery in children ▪ Pull-through procedures for Hirschsprung's disease and anorectal malformation ▪ Repair of exomphalos and gastroschisis ▪ Major thoracic surgery in children |  | Fig 10.1 — Adult range, paediatric scale The three paediatric constants ▪ Warm — warming mattress, overhead heater, warmed fluids, theatre at 24–26 °C. ▪ Measure — weigh the swabs; blood volume is only about 80 mL/kg. ▪ Miniaturise — short fine instruments, mosquito forceps as the workhorse, 4-0 to 7-0 suture, fine vented suction. ▪ Quote these three in any paediatric tray answer.. |
| --- | --- | --- |

### Contents of the tray

| Qty | Instrument | Notes / rationale |
| --- | --- | --- |
| CUTTING AND DISSECTING |  |  |
| 2 | Knife handle No.3 with No.15 blade | No.15, not No.20 — the incision is short and precise |
| 1 | Knife handle No.7, fine | deep dissection |
| 2 | Metzenbaum scissors, fine 11–14 cm | the principal dissecting instrument |
| 1 | Mayo scissors, small curved | tougher tissue |
| 1 | Iris / tenotomy scissors | very fine work |
| 1 | Suture scissors |  |
| 1 | Potts-Smith angled scissors, fine | vessels and duct anastomoses |
| GRASPING AND HOLDING |  |  |
| 2 | Adson / fine toothed forceps | skin and fascia |
| 2 | DeBakey forceps, fine 13–16 cm | atraumatic — bowel, vessels, ureter |
| 2 | Dressing forceps, fine |  |
| 2 | Non-toothed fine forceps |  |
| 4 | Babcock forceps, small | atraumatic bowel handling |
| 4 | Allis forceps, small |  |
| 4 | Towel clips, small |  |
| 2 | Sponge-holding forceps, small |  |
| CLAMPING AND OCCLUDING |  |  |
| 12 | Mosquito (Halsted) forceps, curved — the workhorse | signature point — in paediatric surgery the mosquito replaces the Crile as the standard haemostat |
| 6 | Crile forceps, small 12–14 cm |  |
| 4 | Right-angled (Mixter) forceps, fine | encircling small pedicles |
| 4 | Bulldog clamps, small | vascular occlusion in vessels 2–3 mm wide |
| 4 | Non-crushing (Doyen-type) intestinal clamps, small | bowel that must survive |
| 2 | Kocher clamps, small | crushing, specimen side |
| — | Ligating clips, small and micro, with appliers | often safer and faster than ties on tiny vessels |
| EXPOSING AND RETRACTING |  |  |
| 2 | Senn and small Langenbeck retractors |  |
| 2 | Army-Navy retractors, small |  |
| 2 | Malleable retractors, narrow (1–2 cm) | protects viscera |
| 1 | Small self-retaining retractor — Weitlaner, Denis Browne ring or a small Balfour | signature item — the Denis Browne ring retractor with assorted small blades is the classic paediatric self-retainer |
| 2 | Skin hooks, fine |  |
| 2 | Small Deaver retractors |  |
| 1 | Head-light |  |
| 1 | Magnifying loupes | routinely used in neonates |
| SUTURING |  |  |
| 2 | Needle holders, fine 13–15 cm |  |
| 1 | Castroviejo / micro needle holder | vascular and duct anastomoses |
| — | Fine suture — 4-0 to 7-0 absorbable; 5-0 to 7-0 monofilament | heavier suture cuts through neonatal tissue |
| — | Fine vascular suture 6-0 to 8-0 |  |
| — | Absorbable subcuticular skin suture | avoids the distress of suture removal |
| SUCTION AND ACCESSORY |  |  |
| 2 | Fine suction tips (Frazier) with a thumb vent | signature item — the vent limits the force applied to friable neonatal tissue; a Poole tip is too large |
| 1 | Small Yankauer tip |  |
| — | Low-suction, small-volume reservoir with graduated measurement | every millilitre of loss is measured |
| 1 | Bipolar diathermy with fine tips, low power settings | bipolar preferred; monopolar spreads through a small body |
| — | Paediatric electrosurgical return electrode | correctly sized for the child's weight |
| — | Small radio-opaque swabs and gauze, counted, and a weighing scale | signature requirement — swabs are weighed to quantify blood loss |
| — | Small kidney dish, gallipots and specimen containers |  |
| — | Fine feeding tubes, infant catheters and small drains |  |
| PHYSIOLOGICAL SUPPORT — INSEPARABLE FROM THE TRAY |  |  |
| — | Forced-air or radiant warmer, warming mattress and overhead heater | signature requirement — hypothermia occurs within minutes |
| — | Warmed irrigation fluid, warmed intravenous fluids and a fluid warmer |  |
| — | Raised theatre ambient temperature (24–26 °C for neonates) |  |
| — | Temperature probe and continuous core temperature monitoring |  |
| — | Cross-matched blood in paediatric aliquots | neonatal blood volume ≈ 80 mL/kg — a 30 mL loss in a 2 kg baby is nearly 20 % of the circulating volume |
| — | Volumetric infusion pumps and syringe drivers | fluids are given in millilitres per kilogram |
| — | Padding, gel supports and eye protection | pressure injury occurs quickly in a small body |
| — | Glucose monitoring | neonates have limited glycogen reserve |
| — | Neonatal resuscitation equipment |  |

#### Additional supplies and accessories

Position — Supine on a warming mattress with the limbs padded and secured; small rolls rather than sandbags. The child is positioned to give access while preserving temperature — exposure is kept to the minimum area and duration.

Consent and identification — Consent is by the parent or legal guardian; identity, weight and the operative side are confirmed at the WHO checklist. The weight is documented because every drug, fluid and blood volume is calculated from it.

Complications — Hypothermia, hypoglycaemia, fluid overload or depletion, relatively rapid haemorrhagic shock, anastomotic leak, pressure injury, and — with monopolar diathermy — disproportionate thermal spread.

| Feature | Adult major tray | Paediatric major tray |
| --- | --- | --- |
| Skin blade | No.20 on a No.4 handle | No.15 on a No.3 handle |
| Standard haemostat | Crile / Kelly | Mosquito (Halsted) |
| Suture calibre | 0 to 3-0 | 4-0 to 7-0 |
| Suction | Poole + Yankauer | Fine vented Frazier, small graduated reservoir |
| Self-retainer | Balfour with bladder blade | Denis Browne ring retractor / small Weitlaner |
| Blood-loss assessment | Estimated volume in the reservoir | Swabs weighed; loss calculated against 80 mL/kg |
| Temperature control | Routine warming | Active warming is essential and continuous |

Table 10.1 — Adult versus paediatric major tray

Examination pointers ▪ Open with the principle: a child is not a small adult — then give scale, physiology, thermoregulation and tissue delicacy. ▪ No.15 blade, mosquito forceps as the workhorse, 4-0 to 7-0 suture, fine vented Frazier suction are the concrete substitutions. ▪ Denis Browne ring retractor is the classic paediatric self-retaining retractor. ▪ Weigh the swabs and quote blood volume ≈ 80 mL/kg — the most reliably rewarded facts in this Part. ▪ Active warming (mattress, overhead heater, warmed fluids, theatre 24–26 °C) is part of tray preparation. ▪ Bipolar diathermy at low settings with a correctly sized return electrode. ▪ Loupes are routine in neonatal work.

#### Likely examination questions

Q1.  How does a paediatric major tray differ from an adult major tray?

A.  It contains the same six functional groups but in short, fine, light patterns and smaller quantities: a No.15 blade on a No.3 handle instead of a No.20 on a No.4; fine 11–14 cm Metzenbaum scissors; mosquito forceps as the standard haemostat rather than Crile or Kelly; fine DeBakey and Adson forceps, small Babcock and small non-crushing intestinal clamps, small bulldogs and micro clips; Senn, small Langenbeck, narrow malleable and a Denis Browne ring or small Weitlaner self-retaining retractor with loupes and a head-light; fine 13–15 cm needle holders with 4-0 to 7-0 suture; and fine vented Frazier suction with a small graduated reservoir. Beyond instruments it requires active warming — warming mattress, overhead heater, warmed fluids and theatre at 24–26 °C — continuous temperature monitoring, bipolar diathermy at low power with a correctly sized return electrode, volumetric pumps, glucose monitoring, cross-matched blood in paediatric aliquots and weighing of swabs to measure blood loss against a circulating volume of only about 80 mL/kg.

Q2.  Why is blood loss measured by weighing swabs in paediatric surgery?

A.  Because a neonate's total blood volume is only about 80 mL/kg — roughly 240 mL in a 3 kg baby — so a loss of 25–30 mL, which would be visually negligible in an adult, represents more than 10 % of the circulating volume. Visual estimation is far too imprecise, so swabs are weighed (1 g ≈ 1 mL) and suction volumes measured in small graduated reservoirs to allow accurate, timely replacement.

## 10.2   Paediatric Minor Procedures Tray

Also called:  Paediatric minor set · children's day-case tray

| The paediatric minor tray is the commonest tray in a children's theatre. It is the adult basic/minor tray (1.2) in fine short patterns, used for the high-volume day-case operations of childhood — hernia, hydrocele, circumcision, undescended testis and minor lumps. Its instruments are simple; what distinguishes it is delicacy of handling and the same warming and blood-loss discipline as the major tray. Used for / includes ▪ Inguinal herniotomy — the commonest paediatric operation ▪ Hydrocele repair; ligation of a patent processus vaginalis ▪ Orchidopexy for undescended testis ▪ Circumcision; release of preputial adhesions; meatotomy ▪ Excision of a lymph node, dermoid, thyroglossal or branchial remnant ▪ Incision and drainage of an abscess; wound debridement ▪ Insertion of a central venous line or port; muscle biopsy ▪ Tongue-tie division (frenotomy) |  | Fig 10.2 — Small, simple and used in large numbers Herniotomy, not hernioplasty ▪ In a child the hernia is a patent processus vaginalis. ▪ Treatment is high ligation of the sac alone — herniotomy. ▪ No mesh, no canal repair — the adult operation is quite different. ▪ Hence the tray needs only fine dissecting instruments and transfixion suture.. |
| --- | --- | --- |

### Contents of the tray

| Qty | Instrument | Notes / rationale |
| --- | --- | --- |
| CUTTING AND DISSECTING |  |  |
| 2 | Knife handle No.3 with No.15 blade |  |
| 1 | Fine Metzenbaum scissors, 11–13 cm | opening the inguinal canal, dissecting the sac |
| 1 | Iris / tenotomy scissors, fine | very fine trimming |
| 1 | Small Mayo scissors, curved |  |
| 1 | Suture scissors |  |
| 1 | Small artery-forceps-mounted swab (peanut) | blunt dissection of the sac |
| GRASPING AND HOLDING |  |  |
| 2 | Adson forceps, 1×2 teeth | skin |
| 2 | Fine non-toothed / DeBakey forceps | atraumatic — the vas and vessels are handled with these |
| 2 | Fine dressing forceps |  |
| 4 | Small Allis forceps | the hernial sac and wound edges |
| 4 | Small towel clips |  |
| 2 | Small sponge-holding forceps |  |
| CLAMPING |  |  |
| 10 | Mosquito forceps, curved — the principal haemostat |  |
| 4 | Crile forceps, small |  |
| 2 | Small Kocher clamps |  |
| RETRACTING |  |  |
| 2 | Senn (double-ended) retractors | the standard paediatric small retractor |
| 2 | Small Langenbeck retractors |  |
| 2 | Army-Navy retractors, small |  |
| 2 | Skin hooks, fine |  |
| 1 | Small Weitlaner self-retaining retractor |  |
| 1 | Magnifying loupes | the vas deferens in an infant is about 1 mm across |
| SUTURING |  |  |
| 2 | Needle holders, fine 13 cm |  |
| — | 4-0 to 6-0 absorbable suture | sac transfixion, muscle and subcutaneous layers |
| — | 5-0 / 6-0 absorbable subcuticular for skin | avoids the distress of suture removal in a child |
| — | Tissue adhesive / adhesive strips | atraumatic skin closure |
| PROCEDURE-SPECIFIC ADDITIONS |  |  |
| 1 | Circumcision instruments — Mogen or Gomco clamp, Plastibell in assorted sizes, or a dorsal-slit set | signature item for circumcision |
| 2 | Fine probe / sinus forceps | separating preputial adhesions |
| 1 | Orchidopexy items — fine non-toothed forceps, small Langenbeck retractors and a Dartos-pouch dissector |  |
| 1 | Nerve stimulator | identifies nerves in neck and limb procedures |
| 1 | Fine grooved director and probe | sinus and fistula tracts |
| — | Small drains, infant feeding tubes and catheters |  |
| 1 | Frenotomy scissors and grooved retractor | tongue-tie division |
| ACCESSORY AND PHYSIOLOGICAL SUPPORT |  |  |
| 1 | Fine vented suction (Frazier) |  |
| 1 | Bipolar diathermy, fine tips, low power | essential near the vas, testicular vessels and in a circumcision |
| — | Correctly sized paediatric return electrode |  |
| — | Small radio-opaque swabs, counted, with a weighing scale |  |
| — | Warming mattress, overhead heater and warmed fluids | even a short day-case procedure cools an infant |
| — | Local anaesthetic for infiltration or a caudal / ilioinguinal block | weight-calculated dose; reduces opioid requirement and speeds discharge |
| — | Small kidney dish, gallipot and specimen containers |  |
| — | Non-adherent dressings and hypoallergenic tape | adhesive dressings damage neonatal skin |

#### Additional supplies and accessories

Position — Supine on a warming mattress; a small roll under the hips for inguinal and genital surgery. Limbs padded and gently secured; minimal exposure to preserve temperature.

Herniotomy in a child — A child's inguinal hernia is a patent processus vaginalis and is treated by simple high ligation of the sac (herniotomy) — no mesh and no repair of the canal, unlike the adult operation. This distinction is very commonly examined alongside the tray.

Local anaesthetic doses — All doses are weight-based and the maximum is calculated and stated before injection (for example lignocaine 3 mg/kg, or 7 mg/kg with adrenaline; bupivacaine 2 mg/kg).

Complications — Recurrence, injury to the vas deferens or testicular vessels with testicular atrophy, iatrogenic ascent of the testis, haematoma, infection, hypothermia, and — in circumcision — bleeding, meatal stenosis and excessive or insufficient skin removal.

Examination pointers ▪ Define it as the adult minor tray in fine short patterns for high-volume day-case work. ▪ Mosquito forceps and Senn retractors dominate; loupes are used because the vas is about 1 mm wide. ▪ Absorbable subcuticular skin closure or tissue adhesive — no suture removal in a child. ▪ Herniotomy = high ligation of the sac only; no mesh — state this contrast explicitly. ▪ Name the circumcision devices (Mogen, Gomco, Plastibell) as procedure-specific additions. ▪ Bipolar at low power near the vas and vessels. ▪ Warming and swab weighing apply even to short day cases. ▪ Weight-based local anaesthetic dose and regional blocks.

#### Likely examination questions

Q1.  Describe the paediatric minor procedures tray.

A.  The adult minor tray in fine short patterns: No.3 handle with No.15 blade, fine 11–13 cm Metzenbaum, iris and small Mayo scissors and peanut swabs; Adson fine toothed, fine DeBakey and dressing forceps with small Allis forceps, towel clips and sponge holders; about ten curved mosquito forceps as the principal haemostat with small Crile and Kocher clamps; Senn, small Langenbeck and Army-Navy retractors, fine skin hooks, a small Weitlaner and magnifying loupes; fine 13 cm needle holders with 4-0 to 6-0 absorbable suture and 5-0/6-0 absorbable subcuticular skin closure or tissue adhesive. Procedure-specific additions include circumcision devices (Mogen or Gomco clamp, Plastibell), fine probes for preputial adhesions, orchidopexy instruments, a nerve stimulator, grooved director and small drains. Accessory: fine vented Frazier suction, low-power bipolar diathermy with a correctly sized return electrode, counted small radio-opaque swabs with a weighing scale, warming mattress and warmed fluids, weight-calculated local anaesthetic for infiltration or a caudal block, and non-adherent dressings.

Q2.  How does the surgical treatment of an inguinal hernia in a child differ from that in an adult, and how does this affect the tray?

A.  In a child the hernia results from a patent processus vaginalis, so treatment is herniotomy — simple high ligation and division of the sac — without mesh or repair of the inguinal canal. The tray therefore needs only fine dissecting instruments (fine Metzenbaum scissors, peanut swabs, atraumatic non-toothed forceps and loupes to identify the 1 mm vas and testicular vessels) and fine absorbable transfixion suture, rather than the mesh, tackers and heavier instruments of an adult hernioplasty.

## 10.3   Paediatric Gastrointestinal Procedures Tray

Also called:  Paediatric bowel tray · neonatal GI anastomosis set

| The paediatric GI tray applies the adult rule — crushing clamps only on the specimen side, non-crushing on bowel that must survive — to a bowel that may be only a few millimetres in diameter and paper-thin. Because staplers are usually too large for neonatal bowel, anastomoses are hand-sewn with 5-0 to 7-0 suture under magnification, and this, together with contamination control and stoma provision, defines the tray. Used for / includes ▪ Bowel resection and anastomosis for atresia, stenosis or malrotation ▪ Necrotising enterocolitis — resection, stoma or drainage ▪ Hirschsprung's disease — biopsy, levelling biopsies and pull-through ▪ Anorectal malformation — colostomy and definitive repair ▪ Pyloromyotomy (Ramstedt) for infantile hypertrophic pyloric stenosis ▪ Repair of gastroschisis and exomphalos ▪ Meconium ileus; intussusception requiring operation ▪ Formation, revision and closure of an ileostomy or colostomy |  | Fig 10.3 — Atraumatic handling of millimetre-wide bowel Why hand-sewn, not stapled ▪ Neonatal bowel may be 5–10 mm in diameter with a wall under 1 mm thick. ▪ Standard staplers are too large and too traumatic and would narrow the lumen. ▪ So anastomoses are hand-sewn, single-layer interrupted extramucosal, with 5-0 to 7-0 suture under loupes. ▪ Stating this explicitly distinguishes a strong answer.. |
| --- | --- | --- |

### Contents of the tray

| Qty | Instrument | Notes / rationale |
| --- | --- | --- |
| BASE SET |  |  |
| 1 | Complete paediatric major procedures tray | see 10.1 |
| BOWEL CLAMPS — THE DEFINING GROUP |  |  |
| 4 | Non-crushing (Doyen-type) intestinal clamps, small and fine | signature item — applied only to bowel that will be retained |
| 4 | Rubber-shod mosquito or Crile forceps / clamp guards | signature item — in a neonate even a small Doyen may be too heavy; a rubber-shod fine clamp is gentler still |
| 2 | Small crushing (Kocher / Payr-type) clamps | specimen side only |
| 4 | Small Babcock forceps | atraumatic traction on bowel, appendix and tube |
| 4 | Fine DeBakey forceps | the instrument that actually holds the bowel wall |
| 2 | Fine right-angled forceps | mesenteric vessels |
| — | Soft slings / umbilical tapes, fine | gentle bowel retraction instead of a clamp |
| ANASTOMOSIS — HAND-SEWN, UNDER MAGNIFICATION |  |  |
| 2 | Fine needle holders 13 cm and a micro (Castroviejo) needle holder |  |
| — | 5-0, 6-0 and 7-0 absorbable suture on a fine round-bodied (taper) needle | signature requirement — single-layer interrupted extramucosal (seromuscular) anastomosis is standard in neonates |
| — | Stay sutures, fine | hold the ends in apposition and rotate the anastomosis |
| 2 | Magnifying loupes (2.5–4×) or the operating microscope | signature requirement — a neonatal duodenum may be 5 mm wide |
| 2 | Fine curved and Potts-Smith angled scissors |  |
| 1 | Bougies / sizing catheters, small | calibrates the anastomosis and excludes distal obstruction |
| — | Small stapling devices only if size-appropriate | most neonatal staplers are too large — say so explicitly |
| — | Fibrin sealant | reinforces a delicate anastomosis |
| PROCEDURE-SPECIFIC ADDITIONS |  |  |
| 1 | Pyloromyotomy spreader (Benson) and pyloric knife/blade | signature item for Ramstedt pyloromyotomy — the hypertrophied muscle is split and spread without breaching the mucosa |
| 1 | Rectal / suction biopsy instrument (Noblett) | signature item — obtains submucosa for ganglion cells in Hirschsprung's disease |
| — | Separate labelled specimen pots for levelling biopsies | each seromuscular biopsy is labelled with its distance from the anal verge to locate the transition zone |
| 1 | Anal dilators, graded small; Hegar dilators, small | pull-through and post-operative dilatation |
| 1 | Small self-retaining anal retractor |  |
| 1 | Silo bag and applicator | staged reduction of gastroschisis |
| — | Stoma appliances, paediatric, with a marking pen |  |
| — | Contrast medium and image intensifier | on-table contrast study |
| — | Frozen-section facility | confirms ganglion cells before the pull-through anastomosis |
| CONTAMINATION CONTROL |  |  |
| — | Separate 'dirty' bowel-technique instrument set | used after the bowel is opened, then removed from the field |
| — | Small warm moist packs and drapes to isolate the bowel |  |
| — | Dedicated fine suction tip for enteric content |  |
| — | Antiseptic-soaked small swabs | cleansing the divided ends |
| — | Separate specimen and 'dirty' receivers |  |
| — | Change of gloves after the enteric stage |  |
| — | Culture swabs | peritoneal fluid in necrotising enterocolitis |
| PHYSIOLOGICAL SUPPORT — CRITICAL IN THIS GROUP |  |  |
| — | Nasogastric / orogastric tube, size-appropriate | decompression is essential in obstruction |
| — | Warming mattress, overhead heater, warmed irrigation and warmed intravenous fluids; theatre at 24–26 °C | exposed bowel loses heat and fluid extremely rapidly |
| — | Continuous core temperature monitoring |  |
| — | Volumetric pumps and syringe drivers; fluids in mL/kg |  |
| — | Cross-matched blood in paediatric aliquots | blood volume ≈ 80 mL/kg |
| — | Small counted radio-opaque swabs with a weighing scale | swabs weighed to quantify loss |
| — | Glucose monitoring and dextrose infusion |  |
| — | Parenteral nutrition access — central line or PICC | prolonged ileus is expected after neonatal bowel surgery |
| — | Neonatal resuscitation equipment and a transport incubator |  |

#### Additional supplies and accessories

Position — Supine on a warming mattress; lithotomy or prone for anorectal and pull-through procedures. Exposure is kept to the minimum area to preserve temperature.

Ramstedt pyloromyotomy — The seromuscular layer of the pylorus is incised and spread with a Benson spreader until the mucosa pouts through, intact. The tray must therefore include the spreader and a means of testing mucosal integrity (insufflating air through the nasogastric tube). A breached mucosa must be recognised and repaired at once.

Hirschsprung's levelling biopsies — Seromuscular biopsies are taken at intervals and sent for frozen section to find the level at which ganglion cells appear. Each pot must be separately labelled with its distance from the anal verge — mislabelling leads to resection at the wrong level.

Complications — Anastomotic leak and stricture, mucosal perforation in pyloromyotomy, adhesive obstruction, short-bowel syndrome, stoma complications, wound dehiscence, sepsis, hypothermia and hypoglycaemia, and prolonged parenteral-nutrition dependence.

Examination pointers ▪ Restate the crushing versus non-crushing rule, then explain that in a neonate even a Doyen may be too heavy — hence rubber-shod fine clamps. ▪ Anastomoses are hand-sewn, single-layer interrupted extramucosal, 5-0 to 7-0, under loupes — staplers are usually too large. ▪ Benson pyloromyotomy spreader and testing mucosal integrity for Ramstedt's operation. ▪ Noblett suction rectal biopsy and separately labelled levelling biopsies with frozen section for Hirschsprung's. ▪ Contamination control with a separate 'dirty' set and glove change. ▪ Warming, swab weighing and 80 mL/kg — the paediatric constants apply with even greater force when bowel is exposed. ▪ Nasogastric decompression and central access for parenteral nutrition are part of preparation.

Common mistakes to avoid ✗ Applying a crushing clamp to bowel that will be retained. ✗ Assuming adult staplers can be used in a neonate. ✗ Failing to label levelling biopsies with the distance from the anal verge. ✗ Omitting warming, swab weighing and glucose monitoring. ✗ Forgetting to test mucosal integrity after pyloromyotomy.

#### Likely examination questions

Q1.  Describe the paediatric gastrointestinal procedures tray.

A.  A complete paediatric major tray plus: bowel clamps — small fine non-crushing Doyen-type clamps and rubber-shod fine clamps for retained bowel, small crushing clamps for the specimen side, small Babcock and fine DeBakey forceps, fine right-angled forceps and soft slings; anastomosis — fine and micro needle holders with 5-0 to 7-0 absorbable suture on fine round-bodied needles for a single-layer interrupted extramucosal anastomosis, stay sutures, loupes or the microscope, fine curved and Potts scissors, small sizing bougies, size-appropriate staplers only if suitable, and fibrin sealant; procedure-specific — Benson pyloromyotomy spreader with a pyloric blade, Noblett suction rectal biopsy instrument, separately labelled pots for levelling biopsies with frozen section, small graded anal and Hegar dilators, a silo bag, paediatric stoma appliances and contrast with an image intensifier; contamination control — a separate 'dirty' bowel set, isolation packs, dedicated suction, separate receivers, glove change and culture swabs; and physiological support — nasogastric decompression, active warming with warmed fluids and theatre at 24–26 °C, core temperature monitoring, volumetric pumps, cross-matched blood in paediatric aliquots, counted swabs with a weighing scale, glucose monitoring and central access for parenteral nutrition.

Q2.  Why are neonatal bowel anastomoses hand-sewn rather than stapled?

A.  Neonatal bowel may be only 5–10 mm in diameter with a wall less than a millimetre thick. Standard stapling devices are too bulky to introduce, would crush a disproportionate amount of tissue and would significantly narrow the lumen, risking stricture. A hand-sewn single-layer interrupted extramucosal anastomosis with 5-0 to 7-0 absorbable suture, performed under magnifying loupes, gives accurate serosa-to-serosa apposition without compromising the lumen.